## LOG-240916162455
Device Type | DR1900
Serial Number: | 141480001020
Time | User ID | Sample ID | Test Number | Test Name | Result | Unit | Chemical Form | Dilution | Reagent Blank | Standard Adjust | Message1 | Message2
2024-09-16 16:21 | C WEEKES | N 10MGL STD(036) | P346 | N Inorganic TNT | 10.2 | mg/L | NH₃ | Off | Off | Off |  |  | EndOfRecord
2024-09-16 16:21 | C WEEKES | N 10MGL STD(035) | P346 | N Inorganic TNT | 10.2 | mg/L | NH₃ | Off | Off | Off |  |  | EndOfRecord
2024-09-16 16:20 | C WEEKES | N NRM(014) | P346 | N Inorganic TNT | 0 | mg/L | NH₃ | Off | Off | Off |  |  | EndOfRecord
2024-09-16 16:19 | C WEEKES | N NRM(013) | P346 | N Inorganic TNT | 0 | mg/L | NH₃ | Off | Off | Off |  |  | EndOfRecord
2024-09-16 16:18 | C WEEKES | N SMPL(014) | P346 | N Inorganic TNT | - - - | mg/L | NH₃ | Off | Off | Off | Under range! |  | EndOfRecord
2024-09-16 16:17 | C WEEKES | N SMPL(013) | P346 | N Inorganic TNT | -0.1 | mg/L | NH₃ | Off | Off | Off |  |  | EndOfRecord
2024-09-16 16:16 | C WEEKES | N BLANK(001) | P346 | N Inorganic TNT | 0 | mg/L | NH₃ | Off | Off | Off |  |  | EndOfRecord
2024-09-16 16:16 | C WEEKES | N 10MGL STD(034) | P346 | N Inorganic TNT | 9.8 | mg/L | NH₃ | Off | Off | Off |  |  | EndOfRecord
2024-09-16 16:14 | C WEEKES | N SMPL(012) | P346 | N Inorganic TNT | - - - | mg/L | NH₃ | Off | Off | Off | Under range! |  | EndOfRecord
2024-09-16 16:14 | C WEEKES | N SMPL(011) | P346 | N Inorganic TNT | -0.1 | mg/L | NH₃ | Off | Off | Off |  |  | EndOfRecord
2024-09-16 16:13 | C WEEKES | N SMPL(010) | P346 | N Inorganic TNT | -0.1 | mg/L | NH₃ | Off | Off | Off |  |  | EndOfRecord
2024-09-16 16:12 | C WEEKES | N SMPL(009) | P346 | N Inorganic TNT | 0.6 | mg/L | NH₃ | Off | Off | Off |  |  | EndOfRecord
2024-09-16 16:12 | C WEEKES | N SMPL(008) | P346 | N Inorganic TNT | 0.6 | mg/L | NH₃ | Off | Off | Off |  |  | EndOfRecord
2024-09-16 16:11 | C WEEKES | N SMPL(007) | P346 | N Inorganic TNT | 0 | mg/L | NH₃ | Off | Off | Off |  |  | EndOfRecord
2024-09-16 16:10 | C WEEKES | N 10MGL STD(033) | P346 | N Inorganic TNT | 9.7 | mg/L | NH₃ | Off | Off | Off |  |  | EndOfRecord
2024-09-16 16:10 | C WEEKES | N 10MGL STD(032) | P346 | N Inorganic TNT | 9.7 | mg/L | NH₃ | Off | Off | Off |  |  | EndOfRecord
2024-09-16 14:39 | C WEEKES | S SMPL(008) | P656 | Silica HR | 1.6 | mg/L | SiO₂ | Off | Off | Off |  |  | EndOfRecord
2024-09-16 14:38 | C WEEKES | S SMPL(007) | P656 | Silica HR | 1.6 | mg/L | SiO₂ | Off | Off | Off |  |  | EndOfRecord
2024-09-16 14:35 | C WEEKES | S SMPL(006) | P656 | Silica HR | 0.8 | mg/L | SiO₂ | Off | Off | Off |  |  | EndOfRecord
2024-09-16 14:34 | C WEEKES | S SMPL(005) | P656 | Silica HR | 0.8 | mg/L | SiO₂ | Off | Off | Off |  |  | EndOfRecord
2024-09-16 14:32 | C WEEKES | S HI NNRM(009) | P656 | Silica HR | 7.1 | mg/L | SiO₂ | Off | Off | Off |  |  | EndOfRecord
2024-09-16 14:30 | C WEEKES | S HI NNRM(008) | P656 | Silica HR | 7.2 | mg/L | SiO₂ | Off | Off | Off |  |  | EndOfRecord
2024-09-16 14:30 | C WEEKES | S BLANK(002) | P656 | Silica HR | 0 | mg/L | SiO₂ | Off | Off | Off |  |  | EndOfRecord
2024-09-16 14:06 | C WEEKES | S 50MGL STD1(031) | P656 | Silica HR | 49 | mg/L | SiO₂ | Off | Off | Off |  |  | EndOfRecord
2024-09-16 14:05 | C WEEKES | S SMPL(004) | P656 | Silica HR | 1.6 | mg/L | SiO₂ | Off | Off | Off |  |  | EndOfRecord
2024-09-16 14:05 | C WEEKES | S SMPL(003) | P656 | Silica HR | 1.7 | mg/L | SiO₂ | Off | Off | Off |  |  | EndOfRecord
2024-09-16 14:04 | C WEEKES | S SMPL(002) | P656 | Silica HR | 1 | mg/L | SiO₂ | Off | Off | Off |  |  | EndOfRecord
2024-09-16 14:03 | C WEEKES | S SMPL(001) | P656 | Silica HR | 1.1 | mg/L | SiO₂ | Off | Off | Off |  |  | EndOfRecord
2024-09-16 14:01 | C WEEKES | S 50MGL STD1(030) | P656 | Silica HR | 49.9 | mg/L | SiO₂ | Off | Off | Off |  |  | EndOfRecord
2024-09-16 14:00 | C WEEKES | S 50MGL STD1(029) | P656 | Silica HR | 50.6 | mg/L | SiO₂ | Off | Off | Off |  |  | EndOfRecord
2024-09-16 12:44 | C WEEKES | PO4 NRM(002) | P490 | P React. PV | 0.14 | mg/L | PO₄³⁻ | Off | Off | Off |  |  | EndOfRecord
2024-09-16 12:43 | C WEEKES | PO4 NRM(001) | P490 | P React. PV | 0.15 | mg/L | PO₄³⁻ | Off | Off | Off |  |  | EndOfRecord
2024-09-16 12:43 | C WEEKES | PO4 SMPL(007) | P490 | P React. PV | 0.14 | mg/L | PO₄³⁻ | Off | Off | Off |  |  | EndOfRecord
2024-09-16 12:41 | C WEEKES | PO4 2MGL STD(003) | P490 | P React. PV | 1.99 | mg/L | PO₄³⁻ | Off | Off | Off |  |  | EndOfRecord
2024-09-16 12:32 | C WEEKES | PO4 SMPL(006) | P490 | P React. PV | 0.12 | mg/L | PO₄³⁻ | Off | Off | Off |  |  | EndOfRecord
2024-09-16 12:30 | C WEEKES | PO4 SMPL(005) | P490 | P React. PV | 0.11 | mg/L | PO₄³⁻ | Off | Off | Off |  |  | EndOfRecord
2024-09-16 12:29 | C WEEKES | PO4 SMPL(004) | P490 | P React. PV | 0.08 | mg/L | PO₄³⁻ | Off | Off | Off |  |  | EndOfRecord
2024-09-16 12:28 | C WEEKES | PO4 SMPL(003) | P490 | P React. PV | 0.06 | mg/L | PO₄³⁻ | Off | Off | Off |  |  | EndOfRecord
2024-09-16 12:27 | C WEEKES | PO4 2MGL STD(002) | P490 | P React. PV | 2 | mg/L | PO₄³⁻ | Off | Off | Off |  |  | EndOfRecord
2024-09-16 12:17 | C WEEKES | PO4 SMPL(002) | P490 | P React. PV | 0.14 | mg/L | PO₄³⁻ | Off | Off | Off |  |  | EndOfRecord
2024-09-16 12:16 | C WEEKES | PO4 SMPL(001) | P490 | P React. PV | 0.11 | mg/L | PO₄³⁻ | Off | Off | Off |  |  | EndOfRecord
2024-09-16 12:13 | C WEEKES | PO4 2MGL STD(001) | P490 | P React. PV | 2.01 | mg/L | PO₄³⁻ | Off | Off | Off |  |  | EndOfRecord